| Date: |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Assessors Name: |  | Reference Number: |  | Review Date: |  |
| Description of assessment | General event exhibition operations |
| Location Details |  |

| Identified Hazards | Who may be affected | Risk Level before control measures S x L = R | Existing control measures | Additional Control measures required | To be actioned by | Completion date | Final Risk level S x L = R |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | S | L | R | RR |  |  |  |  | S | L | R | RR |
| Stand construction derig (Build / Dismantle) Unsuitable materials being used Fire risk due to flammable materials | All on site | 3 | 3 | 9 | H | Ensure that all contractors involved in stand build conform to regulations prior to star and are fully trained and competent in the task they will be performing. All RAMS are supplied and checked by organiser or Floor Manager prior to build. All stand dressings and materials should conform to BS746 part 7, class 1, in order to comply with the Venues Fire Safety Regulations and prevent the spread of fire between stands or features. Paperwork if not supplied in advance, may be demanded on site. | Pre- start briefing for all contractors and exhibitors prior to commencement of any task | Exhibitors Floor Managers |  | 2 | 2 | 4 | L |

| Identified Hazards | Who may be affected | Risk Level before control measures S x L = R | Existing control measures | Additional Control measures required | To be actioned by | Completion date | Final Risk level S x L = R |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | S | L | R | RR |  |  |  |  | S | L | R | RR |
| Working at height (Build / Dismantle) Injury, permanent disability, death, Caused by incorrect use of stepladders. None, or unsuitable PPE provided | Contractors | 3 | 3 | 9 | H | Ensure that floor manager on behalf of the Company, is regulating all Health & Safety matters on site constantly. Therefore, ensuring that the relevant sections of the HASAWA 1974, and Working at Height Regulations 2005/2009 are adhered to. Ensure that risk assessments and method statements are produced prior to work commencing. Unharnessed live edge working is prohibited. | Pre- start briefing for all contractors and exhibitors prior to commencement of any task | Exhibitors Floor Managers |  | 2 | 2 | 4 | L |

| Identified Hazards | Who may be affected | Risk Level before control measures S x L = R | Existing control measures | Additional Control measures required | To be actioned by | Completion date | Final Risk level S x L = R |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | S | L | R | RR |  |  |  |  | S | L | R | RR |
| Stand Electricity Supply Injuries could range from minor cuts and bruises through to serious injuries or death through electrocution | Contractors Exhibitors Visitors | 4 | 3 | 9 | H | Ensure that the stand electrical contractor complies fully with the venue regulations and provides the necessary paperwork in order for live testing of the stand installation to be carried out. Only when this has been done, can the stand be fully energised for the duration of the show. Exhibitors should also be aware of the available power and not overload the circuits. All free built structures containing truss or other metalwork should be earth bonded and checked. | Pre- start briefing for all contractors and exhibitors prior to commencement of any task | Exhibitors Floor Managers Arena Managers |  | 4 | 1 | 4 | L |

| Identified Hazards | Who may be affected | Risk Level before control measures S x L = R | Existing control measures | Additional Control measures required | To be actioned by | Completion date | Final Risk level S x L = R |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | S | L | R | RR |  |  |  |  | S | L | R | RR |
| Electrical tools, equipment and appliances Injuries could range from minor cuts and bruises through to serious injuries or death through electrocution | Contractors Exhibitors Visitors | 4 | 3 | 12 | H | All electrical equipment PAT tested and inspected on a regular basis and complies with BS 7671 (IEE Wiring Regs) 110v supply used wherever possible All employees are trained in the use of all equipment Battery powered tools and equipment should be used wherever possible. Full operating instructions available to employees using equipment where required All working areas free from the accumulation of waste or other materials and substance. Visitors to be kept clear by use of physical barriers during live demonstrations with PPE appropriate to the task available and worn at all times. | Pre- start briefing for all contractors and exhibitors prior to commencement of any task | Exhibitors Floor Managers |  | 4 | 1 | 4 | L |

| Identified Hazards | Who may be affected | Risk Level before control measures S x L = R | Existing control measures | Additional Control measures required | To be actioned by | Completion date | Final Risk level S x L = R |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | S | L | R | RR |  |  |  |  | S | L | R | RR |
| Fire Restricted egress for all on-site personnel in times of evacuation. Risk of Serious injury, permanent disability or death by fire, trampling/crushing, Smoke Inhalation. | Contractors Exhibitors Visitors | 4 | 3 | 9 | H | All Fire aisles and gangways to be clearly marked and maintained constantly by HSO, Floor Manager and security staff. All Aisles to have a minimum 2.0m clear route. All contractors to be informed of foregoing and other organisers staff to have correct information necessary to be able to act on any transgression. Furthermore, venue traffic officers to ensure that vehicles do not restrict fire exit routes from site. Ensure that all key staff are aware of basic use of fire-fighting equipment and its location. All key staff must be fully briefed in on site fire evacuation procedures, together with updated briefing from venue Fire & safety team. | Pre- start briefing for all contractors and exhibitors prior to commencement of any task | Exhibitors Floor Managers Arena Managers |  | 2 | 2 | 4 | L |

| Identified Hazards | Who may be affected | Risk Level before control measures S x L = R | Existing control measures | Additional Control measures required | To be actioned by | Completion date | Final Risk level S x L = R |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | S | L | R | RR |  |  |  |  | S | L | R | RR |
| Manual Handling Sprains and Strains due to poor lifting techniques Back injuries Cuts and bruises owing to loads slipping or being dropped | Contractors Exhibitors | 3 | 2 | 6 | M | Work is planned in order to minimise the need for manual handling Safe manual handling techniques are practiced. Manual handling aids (sack-barrows, pallet trucks etc.) are used where practical Two-person lifts are used where appropriate. Information instruction and training provided to all staff.(Handbook) All items bought in manageable quantities. All working areas free from the accumulation of waste or other materials and substances |  | Exhibitors Floor Managers | Office Manager | 2 | 1 | 2 | L |

| Identified Hazards | Who may be affected | Risk Level before control measures S x L = R | Existing control measures | Additional Control measures required | To be actioned by | Completion date | Final Risk level S x L = R |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | S | L | R | RR |  |  |  |  | S | L | R | RR |
| Substances COSHH Injuries caused by: Ingestion, contact with skin, eyes or respiratory tract, Potential harm to the environment | Contractors Exhibitors Visitors | 3 | 3 | 9 | H | Employees are instructed in the general use of hazardous chemicals. Risk assessments and safety data sheets are available for specific chemicals Suitable PPE (masks overalls, gloves etc.) are available to all employees. All chemicals are stored in original containers, labelled and stored to manufacturer’s instructions. All waste substances are disposed of appropriately. Floor manager to ensure that any substances on site are strictly controlled, and that exposure to same is limited as far as possible. |  | Exhibitors Floor Managers |  | 2 | 2 | 4 | L |

| Identified Hazards | Who may be affected | Risk Level before control measures S x L = R | Existing control measures | Additional Control measures required | To be actioned by | Completion date | Final Risk level S x L = R |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | S | L | R | RR |  |  |  |  | S | L | R | RR |
| Children on Site Risk of serious injury or death from any one of the onsite hazards described herein. | Children | 4 | 3 | 12 | H | Ensure that all have prior knowledge that children (classified for the purpose of this risk assessment, as under the age of 16), will not be allowed on site during the build-up or pull out periods. Floor manager, HSO & security to monitor. |  | Exhibitors Floor Managers Arena Managers |  | 3 | 1 | 3 | L |

| Identified Hazards | Who may be affected | Risk Level before control measures S x L = R | Existing control measures | Additional Control measures required | To be actioned by | Completion date | Final Risk level S x L = R |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | S | L | R | RR |  |  |  |  | S | L | R | RR |
| Terrorist activity, threat or attack Panic or anxiety caused by physical terrorist attack or the act of threat by force or gesture by enemies both domestic and foreign, due to the current UK terrorist threat level | Contractors Exhibitors Visitors | 4 | 2 | 8 | M | Threat to this event is low, however random bag search will be in operation during the open period, and security patrols will be present. Necessary liaison with local authority and Police will be undertaken by the arena management, and intelligence gathered of any known or recent hostile recon/surveillance. |  | Exhibitors Floor Managers Arena Managers |  | 3 | 1 | 3 | L |

| Identified Hazards | Who may be affected | Risk Level before control measures S x L = R | Existing control measures | Additional Control measures required | To be actioned by | Completion date | Final Risk level S x L = R |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | S | L | R | RR |  |  |  |  | S | L | R | RR |
| Slips Trips Falls Slips due to:- Wet or uneven surfaces, Loose flooring Mud, ice & snow. Poor Lighting Levels | Contractors Exhibitors Visitors | 4 | 2 | 8 | M | Appropriate floor signage (E.g. wet floor cones) when wet cleaning is in process. All spillages cleaned up immediately, avoid using a wet cleaning method to avoid spread of the spillages potentially causing the surface to become a hazard. Trailing wires and cables will be kept to a minimum and access around effected areas controlled while cables from vacs etc. are in use. All work materials and equipment not in use will be stored away. Lighting failures are reported to the Arena management team Salt supplies are readily available for application to icy paths and roadways Rubbish and waste materials are removed regularly Walking with large loads is kept to a minimum |  | Exhibitors Floor Managers |  | 3 | 1 | 3 | L |

| SEVERITY | 4 | 4 | 8 | 12 | 16 |
| --- | --- | --- | --- | --- | --- |
|  | 3 | 3 | 6 | 9 | 12 |
|  | 2 | 2 | 4 | 6 | 8 |
|  | 1 | 1 | 2 | 3 | 4 |
|  | 1 | 2 | 3 | 4 |
|  | LIKELIHOOD |

| SEVERITY |
| --- |
| 4 | Fatality | Fatal injury |
| 3 | Major Injury | Reportable under RIDDOR |
| 2 | Minor Injury | First aid administered |
| 1 | Negligible | No or trivial injuries |

| LIKELIHOOD |
| --- |
| 4 | Almost Certain | Expected to occur |
| 3 | Very Likely | Will probably occur in time |
| 2 | Likely | Could occur in time |
| 1 | Unlikely | Possible but not expected |

| 1-4 | 6-8 | 9-12 | 16 |
| --- | --- | --- | --- |
| Low | Medium | High | Very High |
| Risk as low as reasonably practicable | Action/s required | Immediate action/s required | Immediate action/s required |

I CAN CONFIRM THAT I HAVE READ AND FULLY UNDERSTAND THE ABOVE DOCUMENT

SIGNED:				 PRINT NAME:				COMPANY: 						DATE: